ALPHABETICAL

TEST

LISTING

Acetaminophen (ACTM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP (no gel barrier)

#### Activated Partial Thromboplastin Time (APTT-SS)

#### TYPE OF SPECIMEN

Freshly drawn plasma.

#### SPECIMEN STORAGE AND STABILITY

## Tubes should be inverted 8-10 times directly after draw.

## Freeze sample if testing will not be performed within 4 hours. Centrifuge at 3500 rpm for 10 min. Remove top 2/3 of plasma and place in a properly labeled aliquot tube. Tightly cap and place specimen in freezer.

#### TUBE TYPE

#### Light Blue Top

#### Allergy- SEE IGE-TOTAL and SPECIFIC IGE ALLERGENS

#### Alpha Fetoprotein (AFP)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, or fluid is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma should not remain at room temperature. Serum or plasma should be stored at +2°C to +8°C for up to 7 days. . If assays are not completed within 7 days or the separated sample is to be stored beyond 7 days, samples should be frozen at -15°C to -20°C for up to 30 days.

## TUBE TYPE

- VARIOUS (call Lab)

#### AFP, Amniotic Fluid (AFPFL)

#### TYPE OF SPECIMEN

Freshly drawn fluid is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 4-6 hours. If assays are not completed within 4-6 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### RED TOP

#### AFP, Maternal Serum (AFPM)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 4-6 hours. If assays are not completed within 4-6 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

- SST (Gold Top)

Alanine Aminotransferase (ALT)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Albumin (ALB)

TYPE OF SPECIMEN

Freshly drawn serum, plasma, or fluid is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

- ALBFL- Plastic Screw Cap

Alkaline Phosphatase (ALP)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8f. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Ammonia (AMM)

TYPE OF SPECIMEN

Plasma

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Specimen must be on ice and tests must be run within 30 minutes of collection.

## TUBE TYPE

- Lavender

Amylase (AMYL)

TYPE OF SPECIMEN

Freshly drawn serum, plasma, fluid, or freshly collected urine is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container should be kept in the refrigerator or on ice during the timed period. No preservative is required.

## TUBE TYPE

- SST (Gold Top)

- AMYLRDM- Urine Sample Cup

- AMYL12- 24 HR Urine- No Preservative

- AMYLFL- Plastic Screw Cap

## Anti-Cardiolipin IgG Antibody (GCL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

Anti-Cardiolipin IgM Antibody (MCL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

Antistreptolysin-O (ASO)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## ANA Symphony IgG (ANASY)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

Apolipoprotein A-1 (APOA)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Apolipoprotein B (APOB)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Aspartate Aminotransferase (AST)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the 
serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## β2 Glycoprotein IgG (GB2)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

β2 Glycoprotein IgM (MB2)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

BETA HCG, Qualitative (HCGQ, Pregnancy Screen)- SEE HCG, QUALITATIVE

BETA HCG, Quantitative (BHCG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature. Serum or plasma should be stored at +2°C to +8°C for up to 7 days. . If assays are not completed within 7 days or the separated sample is to be stored beyond 7 days, samples should be frozen at -15°C to -20°C for up to 60 days

## TUBE TYPE

- SST (Gold Top)

Bilirubin, Direct (DBILI)

## TYPE OF SPECIMEN

## Freshly drawn serum, plasma, or fluid is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## Bilirubin is photosensitive. Protect samples from light.

## TUBE TYPE

- SST (Gold Top)

- Red Top (no gel)

## Bilirubin, Total (TBIL)

## TYPE OF SPECIMEN

Freshly drawn CSF, serum, or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## Bilirubin is photosensitive. Protect samples from light.

## TUBE TYPE

- SST (Gold Top)

- Red Top (no gel)

Blood Culture – SEE CULTURE: BLOOD

BR15-3 Ag (BR153)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma may be stored at +2°C to +8°C for up to 7 days.

## TUBE TYPE

- SST (Gold Top)

Calcium (CA)

TYPE OF SPECIMEN

Freshly drawn serum, plasma, or properly collected urine (random/timed) is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, 
the collection container is to be kept in the refrigerator or on ice during the timed period. Urine should 
be acidified with 10 mL of 6N HCI added to the container before collection begins.

## TUBE TYPE

- CA and CAI - SST (Gold Top)

- CA24U - 24 HR Urine- 6 N HCL

Carbamazepine (CARB)

## TYPE OF SPECIMEN

Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C.

## TUBE TYPE

- SST (Gold Top)

Carbon Dioxide (CO2)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

- Specimens should be run as soon as possible to ensure that results will be accurate.

## TUBE TYPE

- SST (Gold Top)

Carcinoembryonic Antigen (CEA)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Serum, plasma, or cadaveric serum specimens should be stored at 22° C up to 8 hours, 2-8° C up to 7 days, and -20° C or below after 7 days.

TUBE TYPE

- SST (Gold Top)

CBC- SEE COMPLETE BLOOD CELL COUNT

## CCP- SEE Cyclic Citrullinated Peptide (CCP)

C. Diff Toxin (CDIFFT)

## TYPE OF SPECIMEN

Specimens should be collected using a sterile container.

## SPECIMEN STORAGE AND STABILITY

Specimen should be stored at +2°C to +8°C for up to 24 hours.

## TUBE TYPE

## Sterile Container (Fecal Transfer)

Celiac IgA TTg (ACY)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

Celiac IgG (GCY)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

Chlamydia  Culture(CHLA)

#### TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

#### SPECIMEN STORAGE AND STABILITY

- Swabs for Chlamydia testing should be transported to the test site at refrigeration temperature.

- Transport media should not be used.

- If the specimen is not to be tested within 1 day, store at 2-8°C for up to 5 days.

- Do not freeze.

TUBE TYPE

Females

- Specimens are to be collected using the Clearview Female Specimen Collection Kit provided by Perll Diagnostics

Males

- Specimens are to be collected via a Urine Sample Cup.

Chloride (CL)

TYPE OF SPECIMEN

Freshly drawn serum, plasma, or properly collected urine (random/timed) is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours, or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container should be kept in the refrigerator or on ice during the timed period. No preservative is required.

## CSF specimens should be centrifuged and analyzed without delay. Specimens may be refrigerated or frozen for 7 to 10 days for repeat determinations.

## TUBE TYPE

- SST (Gold Top)

Cholesterol (CHOL)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- SST (Gold Top)

CMV IgG (CMVIGG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

CMV IgM (CMVIGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

CO2 – SEE CARBON DIOXIDE (CO2)

Complement C3 (C3)

TYPE OF SPECIMEN

Freshly drawn serum or plasma from a fasting individual is preferred. Serum samples are recommended. Plasma samples (EDTA, Lithium Heparin, and Sodium Heparin) can be used.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 6 hours, and no longer than 24 hours at +2°C to +8°C. Specimens can be stored frozen at -15°C to -20°C for one week..

## TUBE TYPE

- SST (Gold Top)

Complement C4 (C4)

TYPE OF SPECIMEN

Freshly drawn serum or plasma from a fasting individual is preferred. Serum samples are recommended. Plasma samples (EDTA, Lithium Heparin, and Sodium Heparin) can be used.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 6 hours, and no longer than 24 hours at +2°C to +8°C. Specimens can be stored frozen at -15°C to -20°C for one week.

## TUBE TYPE

- SST (Gold Top)

#### Complete Blood Count (CBC)

#### TYPE OF SPECIMEN

Whole Blood with EDTA.

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### CBC and CBCD - Lavender Tube

## Cortisol (CORT)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, or freshly collected urine is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be refrigerated at +2°C to +8°C. Specimen is stable for 7 days.

## TUBE TYPE

- SST (Gold Top)

- CORTFREE24U- 24 HR Urine- No Preservative

C-Reactive Protein, High sensitivity (CRPH)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- SST (Gold Top)

## Creatinine (CR-S)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, or freshly collected urine (random/timed) is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours, or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container is to be kept in the refrigerator or on ice during the timed period. If a special preservative is required, it should be added to the container before urine collection begins.

## TUBE TYPE

- SST (Gold Top)

- CREAT24HR and CREATCL-  24 HR Urine- No Preservative

- CREATRU – Urine Sample Cup

Culture,  Blood (BCULT) also Culture, Pediatric Blood (BCULTP)

#### TYPE OF SPECIMEN

The preferred specimen is collected into a blood collection tube provided by Perll Diagnostics.

#### SPECIMEN STORAGE AND STABILITY

- Blood for culture should be collected into bottles provided by Perll Diagnostics (appropriate adapters are also provided).

- Blood for culture must be transported to the laboratory at room temperature ASAP and is unacceptable after 24 hours.

TUBE TYPE

- FA Bottle (Provided by Perll Diagnostics)

Culture, MRSA (MRSA)

## TYPE OF SPECIMEN

Specimens should be collected using a sterile culturette.

## SPECIMEN STORAGE AND STABILITY

## Specimen should not remain at room temperature longer than 2 hours. If assays are not completed within 2 hours, specimen should be stored at +2°C to +8°C for up to 24 hours.

## TUBE TYPE

## STSWAB (Bacterial Transfer)

Culture, Sputum (SPUTUM)

## TYPE OF SPECIMEN

Specimens should be collected using a sterile container.

## SPECIMEN STORAGE AND STABILITY

- Store/transport specimen at 4°C within 24 hours of collection.

- Specimen should be sent to the laboratory ASAP.

## TUBE TYPE

## Sterile Container (Sterile Transfer)

Culture, Stool (SCULT)

## TYPE OF SPECIMEN

Specimens should be collected using a sterile container.

## SPECIMEN STORAGE AND STABILITY

Specimen should be stored at +2°C to +8°C for up to 24 hours.

## TUBE TYPE

## Sterile Container (Fecal Transfer)

## Culture, Throat (TCULT)

## TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

## SPECIMEN STORAGE AND STABILITY

Specimen should be stored at +2°C to +8°C for 24 - 72 hours.

## TUBE TYPE

## STSWAB (Bacterial Transfer)

#### Culture, Urine (UCULT)

#### TYPE OF SPECIMEN

Freshly collected urine is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

Urine should not remain at room temperature longer than 4 hours. If testing is not completed within 4 hours, specimen should be stored at +2°C to +8°C for up to 24 hours. Do Not Freeze.

TUBE TYPE

#### Grey Top Urine Sample Cup

Culture: VRE (VRE)

#### TYPE OF SPECIMEN

The preferred specimen is collected in a sterile container

#### SPECIMEN STORAGE AND STABILITY

Specimens should be transported ASAP at room temperature.

TUBE TYPE

- Sterile Container

Culture: Wound (WOUND)

#### TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

#### SPECIMEN STORAGE AND STABILITY

Specimens should be transported within 24 hours at room temperature.

TUBE TYPE

- STSWAB (Bacterial Transfer)

## Cyclic Citrullinated Peptide (CCP)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

D-DIMER (DD)

#### TYPE OF SPECIMEN

Freshly drawn plasma

#### SPECIMEN STORAGE AND STABILITY

## Tubes should be inverted 8-10 times directly after draw.

## Freeze sample if testing will not be performed within 4 hours. Centrifuge at 3500 rpm for 10 min. Remove top 2/3 of plasma and place in a properly labeled aliquot tube. Tightly cap and place specimen in freezer.

#### TUBE TYPE

#### Light Blue

DHEA (DHEA)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

DHEAS (DHEAS)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

Digoxin (DIG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

Double Stranded or Native DNA; dsDNA (DSDNA)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

#### Electrolytes (LYTES)

#### TYPE OF SPECIMEN

Freshly drawn serum, plasma, CSF, or properly collected urine (random/timed) is the preferred specimen. The use of fluoride as a glycolysis inhibitor is recommended.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### LYTESFLUID- Red Top

#### LYTESRU- Urine Sample Cup

#### LYTES24HRU- 24 HR Urine- No Preservative

Epstein Barr IgG (EBVVCAIGG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8°C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

Epstein Barr IgM (EVBVVCAIGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, -20° C or below after 48 hours

## TUBE TYPE

- SST (Gold Top)

## Estradiol (ESTR)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature. Serum or plasma should be stored at +2°C to +8°C. (2 days)

## TUBE TYPE

- SST (Gold Top)

Ethanol, Medical (ETOH)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 4 hours.

- Cap must remain on the collection tube until the test is run.

#### TUBE TYPE

#### SST (Gold Top)

Ferritin (FER)

## TYPE OF SPECIMEN

## Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

#### Fibrinogen (FIB-C)

#### TYPE OF SPECIMEN

Freshly drawn plasma.

#### SPECIMEN STORAGE AND STABILITY

## Tubes should be inverted 8-10 times directly after draw.

## Freeze sample if testing will not be performed within 4 hours. Centrifuge at 3500 rpm for 10 min. Remove top 2/3 of plasma and place in a properly labeled aliquot tube. Tightly cap and place specimen in freezer.

#### TUBE TYPE

#### Light Blue

## Folate (FOL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## Follicle Stimulating Hormone (FSH)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 4 hours. If assays are not completed within 4 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top

)

## Gamma Glutamyl Transferase (GGT)

## TYPE OF SPECIMEN

Serum samples are recommended.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## If serum samples are not assayed within 8 hours, samples should be stored at +2°C to +8°C. If samples are not assayed within 72 hours, samples should be stored frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Gentamycin (GENT)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP (no gel)

#### Gonorrhea Culture(GCSC)

#### TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

#### SPECIMEN STORAGE AND STABILITY

- Swabs for Gonorrhea culture should be transported at room temperature and received immediately due to low organism survival rate.

- Swabs should not remain at room temperature longer than 4 hours. If specimens are not received within 4-6 hours of collection, or if the specimen is refrigerated or frozen, it will be rejected and a secondary collection will be necessary.

TUBE TYPE

#### STSWAB (Bacterial Transfer)

## GI 199 (GI199)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma may be stored at +2°C to +8°C for up to 7 days.

## TUBE TYPE

- SST (Gold Top)

## Gliadin IgA (AGP)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

Gliadin IgG (GGP)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

TUBE TYPE

- SST (Gold Top)

Glucose (GLUC)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, CSF, or properly collected urine (random/timed) is the preferred specimen. The use of fluoride as a glycolysis inhibitor is recommended.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours, or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, 
the collection container should be kept in the refrigerator or on ice during the timed period. No preservative is required.

## CSF specimens should be centrifuged and analyzed without delay.

## TUBE TYPE

- GLUC and GLUC24POST - SST (Gold Top)

- Various (contact lab)

H & H- SEE HEMATOCRIT and HEMOGLOBIN (separate orders)

H. Pylori IgA (HPYIGA)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should be stored at +2°C to +8°C for up to 72 hours. If assays are not completed within 72 hours or the separated sample is to be stored beyond 72 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### H. Pylori IgG (HPYIGG)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should be stored at +2°C to +8°C for up to 72 hours. If assays are not completed within 72 hours or the separated sample is to be stored beyond 72 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Haptoglobin (HAPTO)

## TYPE OF SPECIMEN

Serum samples are recommended. Plasma samples (EDTA, Lithium Heparin, and Sodium Heparin) can be used.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## If serum samples are not assayed within 8 hours, samples should be stored at +2°C to +8°C. If samples are not assayed within 72 hours, samples should be stored frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## HCG, Qualitative (HCGQ)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen. Urine is also acceptable.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature. Serum or plasma should be stored at +2°C to +8°C. (7 days). Samples can be frozen at -15°C to -20°C for 60 days.

## TUBE TYPE

- SST (Gold Top)

- Urine Cup

HDL Cholesterol (HDL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are 
not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Heinz Body Stain (HEINZBODY)

#### TYPE OF SPECIMEN

Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Top

#### Hematocrit (HCT)

#### TYPE OF SPECIMEN

Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Top

Hemoglobin (HGB)

#### TYPE OF SPECIMEN

#### Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender

#### Hemoglobin A1C (A1C2)

#### TYPE OF SPECIMEN

Whole Blood with EDTA.

## SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

## TUBE TYPE

- Lavender

#### Hepatitis A Ab, IgG (HAVG)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Hepatitis A Ab, IgM (HAVM)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

Hepatitis B Core IgM (HBCIGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum, plasma, or cadaveric serum specimens should be stored at 22° C up to 8 hours, 2-8° C up to 7 days, and -20° C or below after 7 days.

## TUBE TYPE

## SST (Gold Top)

#### Hepatitis B Post Vaccine (HEPBPOST)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Hepatitis B Surface Antibody (AHBS)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

Hepatitis B Surface Ag (HBSAG)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Hepatitis Be Ab (HBEAB)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

Hepatitis Be Ag (HBEAG)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Hepatitis C Ab (HCV)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

HIV 1/2 AB Profile (HIV)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum, plasma, or cadaveric serum specimens should be stored at 2-8° C up to 7 days, and -20° C after 7 days.

## TUBE TYPE

- SST (Gold Top)

HSV IgG (HSV)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

## Immunoglobulin A (IGA)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- SST (Gold Top)

## IgE Total (IGE-TOT)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

## Immunoglobulin G (IGG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours, or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## Immunoglobulin M (IGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C.

## Frozen samples are not recommended.

## TUBE TYPE

- SST (Gold Top)

#### Influenza A/B Screen (FLUAB)

#### TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

#### SPECIMEN STORAGE AND STABILITY

- Properly collected sample should be stored at 2-8°C, and should be transported to the Lab within 24 hours.

#### TUBE TYPE

#### BD UNIVERSAL VIRAL TRANSPORT MEDIA

#### Inhibin (INHBA)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### Insulin (INSUL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 2 hours. If assays are not completed within 2 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 8 hours or the separated sample is to be stored beyond 8 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- SST (Gold Top)

Iron (FE)

## TYPE OF SPECIMEN

#### Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, the separated sample should be stored at +2°C to +8°C. (4 days)

## TUBE TYPE

- SST (Gold Top)

- FE24HR - 24 HR Urine- No preservative

#### Lactic Acid (LAC)

#### TYPE OF SPECIMEN

## Freshly drawn plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Specimen is to be transported on ice and must be run within 8 hours.

- Do not freeze.

TUBE TYPE

#### Grey Top

## Lactate Dehydrogenase (LD)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, or fluid is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, the separated sample should be stored at +2°C to +8°C. (4 days)

## TUBE TYPE

- SST (Gold Top)

- LDHFLUID- Red Top

LDL Cholesterol (LDLD)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C.

## LDL cholesterol is stable for up to 5 days at +2°C to +8°C. Samples may be frozen at - 80°C. Frozen samples should be thawed only once.

## Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- LDLD and LDLC - SST (Gold Top)

## Lipase (LIP)

## TYPE OF SPECIMEN

Freshly drawn serum, plasma, or fluid is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 4 hours. If assays are not completed within 4 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

- LIPASEFLUID - Red Top

Luteinizing Hormone (LH)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 4 hours. If assays are not completed within 4 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## Lyme IgG

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum, plasma, or cadaveric serum specimens should be stored at 2-8° C up to 7 days, and -20° C after 7 days.

## TUBE TYPE

## SST (Gold Top)

Lyme IgM

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum, plasma, or cadaveric serum specimens should be stored at 2-8° C up to 7 days, and -20° C after 7 days.

## TUBE TYPE

## SST (Gold Top)

Magnesium (MG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Measles IgG (MEAS)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

Microalbumin (MA)

## TYPE OF SPECIMEN

Freshly collected urine is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Specimens should be stored at  2-8° C for up to 24 hours.

## Samples should not be frozen.

## TUBE TYPE

- Urine Sample Cup

Micro Total Protein (MTP)

## TYPE OF SPECIMEN

Freshly collected urine is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Specimens should be stored at  2-8° C for up to 24 hours.

## Samples should not be frozen.

## TUBE TYPE

- Urine Sample Cup

#### Monotest (MONO)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

MRSA (MRSA)- SEE CULTURE, MRSA(MRSA)

Mumps IgG

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

## Ova and Parasite (O&P)

## TYPE OF SPECIMEN

STOOL.

## SPECIMEN STORAGE AND STABILITY

## Specimen should not remain at room temperature longer than 24 hours.

## Specimen should not be frozen or refrigerated.

## TUBE TYPE

## PARA PACK

## OV 125 Ovarian Monitoring (OV125 )

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 2 hours. If assays are not completed within 2 hours, serum or plasma should be stored at +2°C to +8°C (7 days). If assays are not completed within 7 days or the separated sample is to be stored beyond 7 days, samples should be frozen at -15°C to -20°C. (30 days)

## TUBE TYPE

- SST (Gold Top)

#### Pancreatic Amylase (PAM)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

## Parathyroid Hormone (PTH)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

#### pH (PH)

#### TYPE OF SPECIMEN

Freshly drawn serum, plasma, or fluid is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

#### PHFLUID – Red Top

## Phenobarbital (PHENO)

## TYPE OF SPECIMEN

Freshly drawn serum preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

Phenytoin (PHY)

## TYPE OF SPECIMEN

## Freshly drawn is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- PHY and PHYUNBOUND – RED TOP TUBE

## Phosphorus (PHOS)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen. Freshly collected urine may also be used for testing.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine specimens be collected in an acid-washed, detergent-free container.

## After collection, specimens should be acidified to pH<3 with hydrochloric acid (HCI)s Assays should be performed within 2 hours of collection. For timed specimens, the collection container should be kept in the refrigerator or on ice during the time period.

## TUBE TYPE

- SST (Gold Top)

- PHOS24HR - 24 HR Urine- 6 N HCL

Platelet Count (PLT)

#### TYPE OF SPECIMEN

Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Top

## Potassium (K)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Prealbumin (PAB)

TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C

## TUBE TYPE

- SST (Gold Top)

Pregnancy Test Urine (UPREG)

#### TYPE OF SPECIMEN

Freshly collected urine is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Sample should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, urine should be stored at +2°C to +8°C for up to 24 hours.

- Samples should not be frozen.

#### TUBE TYPE

#### Urine Sample Cup

Progesterone (PROG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be frozen at -15°C to -20°C. (3 months)

## TUBE TYPE

- SST (Gold Top)

Prolactin (PRL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells as soon as possible. A maximum limit of eight hours from the time of collection is recommended.

## Separated serum or plasma should not remain at room temperature longer than 4 hours. If assays are not completed within 4 hours, serum or plasma should be stored at +2°C to +8°C for up to 7 days.

## TUBE TYPE

- SST (Gold Top)

## Prostate Specific Antigen (PSA)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be stored at +2°C to +8°C for up to 3 days.

## TUBE TYPE

- PSA and PSAF - SST (Gold Top)

Protein (PROT)

#### TYPE OF SPECIMEN

Freshly drawn serum, plasma, CSF, or properly collected urine (random/timed) is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Urine Samples should not be frozen.

#### TUBE TYPE

#### SST (Gold Top)

#### PROTCSF and PROTFL - Red Top

#### PROT24HR - 24 HR Urine – No Preservative

Prothrombin Time (PT-RP)

#### TYPE OF SPECIMEN

## Freshly drawn plasma.

#### SPECIMEN STORAGE AND STABILITY

## Tubes should be inverted 8-10 times directly after draw.

## Freeze sample if testing will not be performed within 4 hours. Centrifuge at 3500 rpm for 10 min. Remove top 2/3 of plasma and place in a properly labeled aliquot tube. Tightly cap and place specimen in freezer.

TUBE TYPE

#### Light Blue

#### RBC Morphology (RBCMORPH)

#### TYPE OF SPECIMEN

Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Top

#### Respiratory Syncytial AG (RSV)

#### TYPE OF SPECIMEN

The preferred specimen is collected with a sterile culturette swab.

#### SPECIMEN STORAGE AND STABILITY

- Properly collected sample should be stored at 2-8°C, and should be transported to the Lab within 24 hours.

#### TUBE TYPE

#### BD UNIVERSAL VIRAL TRANSPORT MEDIA

#### M$-RT TRANSPORT MEDIA

Reticulocyte Count (RETIC)

#### TYPE OF SPECIMEN

## Whole Blood with EDTA

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Top

Rheumatoid Factor (RF)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma may be stored at +2°C to +8°C for up to 7 days.

## TUBE TYPE

- SST (Gold Top)

Rubella IgG Antibody (RUBIGG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

Rubella IgM (RUBIGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

TUBE TYPE

- SST (Gold Top)

## Salicylate (SALY)

## TYPE OF SPECIMEN

Freshly drawn serum is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

Sedimentation Rate ESR (ESR)

#### TYPE OF SPECIMEN

Whole Blood EDTA.

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

#### Lavender Tube

#### Sodium (NA)

## TYPE OF SPECIMEN

Freshly drawn fluid, serum, plasma, or properly collected urine (random/timed) is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container should be kept in the refrigerator or on ice during the timed period. No preservative is required.

## TUBE TYPE

- SST (Gold Top)

- NA24HR - 24 HR Urine – No Preservative

- NAFLUID – Red Top

- NARU – Urine Sample Cup

Specific IgE Allergens

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

## Sputum Culture- SEE CULTURE, SPUTUM

## Stool Culture- SEE CULTURE, STOOL

Strep A Rapid Antigen (STREPA)

SPECIMEN STORAGE AND STABILITY

## Store at 2-8° C. Must receive within 24 hours.

## TUBE TYPE

## STSWAB (Bacterial Transfer)

Syphillis (SYPH)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Serum or plasma should be stored at +2°C to +8°C for up to 5 days. If assays are not completed within 5 days or the separated sample is to be stored beyond 5 days, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

#### T3, Free (FT3)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## T3, Total (T3TOT)

## TYPE OF SPECIMEN

## Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be stored at +2°C to +8°C.(7 days), Frozen at -15°C to -20°C. (stable for I month)

## TUBE TYPE

- SST (Gold Top)

T4, Free (FRT4)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

#### TUBE TYPE

#### SST (Gold Top)

## Testosterone (TESTO)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should be stored at +2°C to +8°C for up to 2 days.

## TUBE TYPE

- SST (Gold Top)

## Theophylline (THEO)

## TYPE OF SPECIMEN

Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

## Throat Culture- SEE CULTURE, THROAT

## Thyroglobulin (TG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimens of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

## Thyroid Peroxidase (TPO)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

Thyroid Stimulating Hormone (TSH)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Tobramycin (TOB)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

Total Iron Binding Capacity (TIBC)

## TYPE OF SPECIMEN

Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Total Protein (TP)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Total Uptake (TU)

## TYPE OF SPECIMEN

Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum be physically separated from contact with cells within two hours from the time of collection.

## Separated serum should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at - 15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Toxoplasma IgG (TOXOIGG)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

Toxoplasma IgM (TOXOIGM)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, -20° C or below after 48 hours.

TUBE TYPE

- SST (Gold Top)

Transferrin (TRFN)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

Triglycerides (TRIG)

## TYPE OF SPECIMEN

Freshly drawn fluid, serum, or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## TUBE TYPE

- SST (Gold Top)

- TRIGFLUID – Red Top

## Urea Nitrogen (BUN)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen. Freshly collected urine may also be used for testing.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container should be kept in the refrigerator or on ice during the timed period. No preservative is required.

## TUBE TYPE

- SST (Gold Top)

- UREA24HRUA - 24 HR Urine- No Preservative

- UREA – Urine Sample Cup

Uric Acid (URIC)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen. Freshly collected urine may also be used for testing

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## It is recommended that urine assays be performed within 2 hours of collection. For timed specimens, the collection container should be kept at room temperature. Sodium hydroxide (NaOH) should be added to keep urine alkaline.

## TUBE TYPE

- SST (Gold Top)

- URIC24HR-UA - Urine Sample Cup

- URICRAN-UA – Urine Sample Cup

#### Urine Culture- SEE CULTURE, URINE

#### Urine Microscopy (URMICRO)

#### TYPE OF SPECIMEN

## Freshly collected urine is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Urine should be stored at +2°C to +8°C for up to 24 hours.

- Urine samples should not be frozen.

TUBE TYPE

#### Urine Sample Cup

## Valproic Acid (VPA)

## TYPE OF SPECIMEN

Freshly drawn serum is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- RED TOP

## Vancomycin Peak (VANCP)- Follow Vancomycin Random procedure

## Vancomycin Random (VANC)

## TYPE OF SPECIMEN

Freshly drawn serum is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

## Vancomycin Trough (VANCT) Follow Vancomycin Random procedure

## Vitamin B12 (VITB12)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST  (Gold Top)

## Vitamin D 25 OH (VITD)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 48 hours or the separated sample is to be stored beyond 48 hours, samples should be frozen at -15°C to -20°C.

## TUBE TYPE

- SST (Gold Top)

VRE CULTURE- SEE CULTURE, VRE

VZV IgG EIA

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Specimens should be stored at room temperature up to 8 hours, 2-8° C up to 48 hours, and -20° C or below after 48 hours.

## TUBE TYPE

## SST (Gold Top)

#### White Blood Cell Count (WBC)

#### TYPE OF SPECIMEN

Whole Blood

#### SPECIMEN STORAGE AND STABILITY

- Gently invert Lavender Tube at least 6 times immediately after being drawn.

- Specimen should be refrigerated and remain unspun.

#### TUBE TYPE

## Lavender Tube

## Wound Culture- SEE CULTURE, WOUND