#### Panels and Screens

#### Acute Hepatitis Panel

#### (HAVAb, HBsAg, HBcAb, HCVAb)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

## ANA Screen (ANA)

## (ANASY, DSDNA)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

## Anti-Phospholipid Panel (APS)

## (GB2, GCL, MB2, MCL)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

- SST (Gold Top)

#### Basic Health Panel

#### (BMP, CBCD)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

#### Basic Metabolic Panel

#### (AGAP, BUN, CA, calc. GFR, CL, CO2, CREAT, GLUC, K, NA)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

## Celiac Disease Panel (CELIAC)

## (ACY, AGP, GCY, GGP)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

## Childhood Allergy Profile (CALLP)

## D. Pteronyssinus (D1)

## D. Farinae (D2)

## Cat Dander (E1)

## Dog Dander (E5)

## Egg White (F1)

## Peanut (F13)

## Soybean (F14)

## Milk (F2)

## Shrimp (F24)

## Walnut (F256)

## Fish, Cod (F3)

## Wheat (F4)

## Cockroach (I6)

## Mold (Cladosporium Herbarum)  (M2)

## Mold (Alternaria Alternata) (M6)

## IGE-TOT

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

#### Comprehensive Metabolic Panel (CMP)

#### (ALB, ALP, ALT, AST, BUN, CA, CL, CO2, CR-S, GLUC, K, NA, TBIL, TP)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

## Food Allergy Profile (FALLP)

## Clam (F207)

## Cod, Fish (F3)

## Corn, Maize (F8)

## Egg White (F1)

## Milk (F2)

## Peanut (F13)

## Scallop (F338)

## Sesame Seed (F10)

## Shrimp (F24)

## Soybean (F14)

## Walnut (F256)

## Wheat (F4)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST (Gold Top)

#### General Health Profile (GHP)

#### (CA, CBCD, CHOL, CREAT, HCT, HDL, HGB, LDL calc., PLT, RBC, TRIG, URIC, WBC)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

#### Hepatic Function Panel (LFP)

#### (ALB, ALP, ALT, AST, DBILI, TBIL, TP)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

#### Lipid Panel (LIPID)

#### (CHOL, HDL, LDLC, TRIG)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

#### Lipid Panel with Direct LDL (PLIP)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

## Recurrent GI Distress Profile (RGID)

## Celiac IgA (ACY)

## Celiac IgG (GCY)

## Corn/Maize (F8)

## Fish, Cod (F3)

## Giladin IgA (AGP)

## Giladin IgG (GGP)

## Gluten (F79)

## Hazelnut (F17)

## Milk (F2)

## Peanut (F13)

## Scallop (F338)

## Sesame Seed (F10)

## Shrimp (F24) 
Walnut (F256)

## Soybean (F14)

## Wheat (F4)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## SST for Serum (Gold Top)

#### Renal Function Panel (RENAL)

#### (ALB, BUN, CA, CL, CO2, CR-S, GLUC, K, NA, PHOS)

#### TYPE OF SPECIMEN

Freshly drawn serum or plasma is the preferred specimen.

#### SPECIMEN STORAGE AND STABILITY

- Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

- Separated serum or plasma should not remain at room temperature longer than 8 hours. If assays are not completed within 8 hours, serum or plasma should be stored at +2°C to +8°C. If assays are not completed within 24 hours or the separated sample is to be stored beyond 24 hours, samples should be frozen at -15°C to -20°C.

- Frozen samples should be thawed only once. Analyte deterioration may occur in samples that are repeatedly frozen and thawed.

#### TUBE TYPE

#### SST (Gold Top)

## Rheumatoid Arthritis Screen (RASCR)

## (ANASY, CCP, ESR, HCT, HGB, PLT, RBC, RF, WBC)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## Lavender Top (x2)

## Unexplained Fatigue Profile (UEF)

## (ACY, AGP, ANSY, CCP, DSDNA, GCY, GGP, TG, TPO)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >48 hours, store at -20° C.

## TUBE TYPE

## SST for Serum (Gold Top)

## Upper Respiratory Region 1 (URRG1)

## (CT, MA, ME, NH, NJ, NY, PA, RI, VT)

## Bermuda Grass (G2)

## Birch (T3)

## Cat Dander (E1)

## Cockroach (I6)

## Common Ragweed (W1)

## Cottonwood (T14)

## D. Farinae (D2)

## D. Pternoyssinus (D1)

## Dog Dander (E2)

## Elm (T8)

## IGE-TOT

## Maple (T1)

## Maple Leaf Sycamore (T11)

## Mold (Alternaria Alternata) (M6)

## Mold (Aspergillus Fumigatus) (M3)

## Mold (Cladosporium Herbarum) (M2)

## Mold (Penicillium Notatum) (M1)

## Mountain Cedar (T6)

## Mugwort (W6)

## Mulberry (T70)

## Oak (T7)

## Rough Pigweed (W14)

## Sheep Sorrell (W18)

## Timothy Grass (G6)

## Walnut (T10)

## White Ash (T15)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST for Serum (Gold Top)

## Upper Respiratory Region 2 (URRG2)

## (DC, DE, MD, NC, VA)

## Bermuda Grass (G2)

## Birch (T3)

## Cat Dander (E1)

## Cockroach (I6)

## Common Ragweed (W1)

## Cottonwood (T14)

## D. Farinae (D2)

## D. Pternoyssinus (D1)

## Dog Dander (E2)

## Elm (T8)

## IGE-TOT

## Johnson Grass (G10)

## Maple (T1)

## Mold (Alternaria Alternata) (M6)

## Mold (Aspergillus Fumigatus) (M3)

## Mold (Cladosporium Herbarum) (M2)

## Mold (Penicillium Notatum) (M1)

## Mountain Cedar (T6)

## Mulberry (T70)

## Oak (T7)

## Pecan/Hickory (T22)

## Rough Pigweed (W14)

## Sheep Sorrel (W18)

## Timothy Grass (G6)

## TYPE OF SPECIMEN

Freshly drawn serum or plasma is the specimen of choice.

## SPECIMEN STORAGE AND STABILITY

## Tubes of blood are to be kept closed at all times and in a vertical position. It is recommended that the serum or plasma be physically separated from contact with cells within two hours from the time of collection.

## Serum or plasma specimens should be stored at room temperature for no more than 8 hours. If the specimen is being held longer than 8 hours, store at 2-8° C. For specimens being held >7 days, store at -20° C.

## TUBE TYPE

## SST for Serum (Gold Top)